## mat group
Matl Group Code | Material Group Desc. | Description 2 for the material group
C0000 | CIVIL MTR | CIVIL MATERIALS AND EQUIPMENT (CIVIL)
C8100 | METAL SECTIONS | METAL SECTIONS (CIVIL)
C8200 | BUILDING MATERIALS | BUILDING MATERIALS (CIVIL)
C8300 | PAINT&FINISHING MAT | PAINTS, PAINTING & FINISHING MATERIALS (CIVIL)
C8350 | SIGNS AND LABELS | NAMEPLATES, LABELS, IDENTIFICATION SIGNS (CIVIL)
C8400 | STEEL WORK & SCAFLD | STRUCTURAL STEELWORK & SCAFFOLDING (CIVIL)
E6100 | CONDS & ACCESSORIES | CONDUITS & ACCESSORIES (ELECTRICAL)
E6101 | COND. PVC & ACC'S | COND. PVC & ACC'S (WIRE & E.D.) (ELECTRICAL)
E6102 | COND PVC FLEXIBLE | CONDUIT PVC FLEXIBLE & ACC'S (ELECTRICAL)
E6103 | FLOOR BOXES PVC | FLOOR BOXES PVC (ELECTRICAL)
E6125 | MARKING WARNING TAPE | MARKING / WARNING TAPE (ELECTRICAL)
E6131 | COND STEEL & ACC'S | CONDUIT STEEL, IMC/RIGID & ACC'S (ELECTRICAL)
E6132 | COND STEEL FLEXIBLE | CONDUIT STEEL FLEXIBLE & ACC'S (ELECTRICAL)
E6133 | FLOOR BOXES STEEL | FLOOR BOXES STEEL (ELECTRICAL)
E6134 | COND STEEL FLEX.LIQD | CONDUIT STEEL FLEX.LIQD. TYPE & ACC'S (ELECTRICAL)
E6135 | COND EMT & ACC'S | CONDUIT EL. METAL TUBING & ACC'S (ELECTRICAL)
E6145 | MANHOLE FITT & ACC'S | MANHOLE FITTINGS & ACC'S (ELECTRICAL)
E6151 | TRUNKING & ACC STEEL | TRUNKING & FITTINGS STEEL (ELECTRICAL)
E6151.1 | GI SUPPORTS | GI SUPPORTS FOR TRUNKING (ELECTRICAL)
E6152 | SKIRTING TRUNKING | SKIRTING TRUNKING (ELECTRICAL)
E6153 | UNDERFLOOR DUCT UPVC | UNDERFLOOR DUCT SYSTEM & ACC'S (UPVC) (ELECTRICAL)
E6161 | CABLE TRAYS & LADDER | CABLE TRAYS & LADDERS (ELECTRICAL)
E6162 | CABLE BASKET TRAY | CABLE BASKET TRAY (ELECTRICAL)
E6163 | GI SUPPORTS FOR TRAY | GI SUPPORTS FOR TRAYS (ELECTRICAL)
E6164 | LIGHTING FIXT HANGER | LIGHTING FIXTURES HANGER (ELECTRICAL)
E6170 | PREWIRED CONDUIT SYS | PREWIRED CONDUIT SYSTEM (ELECTRICAL)
E6180 | ELECTRICAL SUNDRIES | ELECTRICAL SUNDRIES (ELECTRICAL)
E6200 | LV WIRE & CABLES | LV WIRE & CABLES (ELECTRICAL)
E6201 | HV CABLES | HV CABLES (ELECTRICAL)
E6211 | HV CABLES TERM. | HV CABLES TERMINATIONS (ELECTRICAL)
E6221 | CABLES M.V. | CABLES M.V. (ELECTRICAL)
E6222 | CABLES L.V. | CABLES L.V. (ELECTRICAL)
E6225 | FIRE PROOF CABLES | FIRE PROOF CABLES (FP200/400) (ELECTRICAL)
E6226 | MISC SYS WIRES | MISC SYSTEM WIRES (ELECTRICAL)
E6230 | HEAT RESISTAN. CABLE | HEAT RESISTANCE CABLES (ELECTRICAL)
E6235.1 | M.V. CABLE TERMINATN | M.V. CABLE TERMINATIONS - GLANDS & LUGS (ELECTRICAL)
E6235.2 | L.V. CABLE TERMINATN | L.V. CABLE TERMINATIONS - GLANDS & LUGS (ELECTRICAL)
E6236 | CABLE TIES | CABLE TIES
E6240 | COND & ACC O/H LINES | CONDUIT & ACC'S FOR O/H LINES (ELECTRICAL)
E6245 | WIRING CABLES | WIRING CABLES (BRANCH CIRCUIT) (ELECTRICAL)
E6250 | TELEPHONE CABLES | TELEPHONE CABLES (ELECTRICAL)
E6250.1 | EPAX SYS | EPAX SYSTEM (ELECTRICAL)
E6255 | DATA CABLES | DATA CABLES (ELECTRICAL)
E6256 | TERM. CAB. TEL.SYS | TERMINAL CAB. FOR TELEPHONE SYSTEMS (ELECTRICAL)
E6260 | COAXIAL CABLES | COAXIAL CABLES (ELECTRICAL)
E6265 | COAXIAL CABLE ACC. | COAXIAL CABLE ACCESSORIES (ELECTRICAL)
E6266 | MATV SYS | MATV SYSTEM CAB. S/T-OFF UNIT (ELECTRICAL)
E6270 | CONTROL CABLES | CONTROL / SIGNAL WIRES (ELECTRICAL)
E6275 | MICC CABLES | MICC CABLES (ELECTRICAL)
E6276 | FLEXIBLE CABLES | FLEXIBLE CABLES (ELECTRICAL)
E6280 | DATA SYS | DATA SYSTEM (ELECTRICAL)
E6300 | PANEL CIRCUIT BREAK. | PANELS CIRCUIT BREAKERS (ELECTRICAL)
E6301 | MAIN SWITCHBOARDS | MAIN SWITCHBOARDS (ELECTRICAL)
E6302 | SUBMAIN SWITCHBOARDS | SUBMAIN SWITCHBOARDS (ELECTRICAL)
E6303 | LOAD CENTRES (RMU) | LOAD CENTRES (RING MAIN UNITS) (ELECTRICAL)
E6304 | PAR. CON. (GMDB) | PARALLELING CONTROL PANELS (GMDB) (ELECTRICAL)
E6305 | CONTROL PANEL (HVAC) | CONTROL PANELS (HVAC) (ELECTRICAL)
E6306 | COPPER / BRASS SHEET | COPPER / BRASS SHEET (ELECTRICAL)
E6307 | VFD | VARIABLE FREQUENCY DRIVES (ELECTRICAL)
E6308 | DISTRIBUTION BOARDS | DISTRIBUTION BOARDS (ELECTRICAL)
E6310 | MOTOR CONTROL CENTRE | MOTOR CONTROL CENTRES (ELECTRICAL)
E6311 | MOTOR STARTERS | MOTOR STARTERS (ELECTRICAL)
E6312 | PFCB | POWER FACTOR CORRECTION BANK (ELECTRICAL)
E6313 | AIR CIRCUIT BREAKERS | AIR CIRCUIT BREAKERS (ELECTRICAL)
E6320 | MAIN SWITC. BREAKER | MAIN SWITCHES / BREAKER FUSES (ELECTRICAL)
E6321 | ISOLAT. POWER SUPPLY | ISOLATED POWER SUPPLIES (ELECTRICAL)
E6322 | ISOLATORS SWITCHES | ISOLATORS SWITCHES (ELECTRICAL)
E6325 | FLOAT SWITCHES | FLOAT SWITCHES (ELECTRICAL)
E6333 | EMERGENCY PUSH BUTT. | EMERGENCY PUSH BUTTON (ELECTRICAL)
E6334.1 | AUTO TESTING PANELS | AUTOMATIC TESTING PANELS (ELECTRICAL)
E6400 | LIGHTING FIXTURES | LIGHTING FIXTURES (ELECTRICAL)
E6401 | INTERNAL LIGHTING | INTERNAL LIGHTING FIXTURES (ELECTRICAL)
E6402 | STAGE LIGHTING | STAGE LIGHTING (ELECTRICAL)
E6403 | CHANDELIERS | CHANDELIERS (ELECTRICAL)
E6431 | STREET/WALK LIGHTING | STREET / WALKWAY LIGHTING FIXTURES (ELECTRICAL)
E6432 | EXTERNAL LIGHTING | EXTERNAL LIGHTING FIXTURES (ELECTRICAL)
E6433 | EMERGENCY LIGHTS CBS | EMERGENCY LIGHTS CENTRAL BATTERY SYSTEM (ELECTRICAL)
E6434 | EMERGENCY LIGHTS NR | EMERGENCY LIGHTS (PLAIN) (ELECTRICAL)
E6434.1 | AUTO TESTING PANELS | AUTOMATIC TESTING PANELS (ELECTRICAL)
E6435 | FLOODLIGHTS | FLOODLIGHTS (ELECTRICAL)
E6437 | BOLLARD FITTINGS | BOLLARD FITTINGS (ELECTRICAL)
E6438 | UNDER WTR LIGHTING | UNDER WATER LIGHTING FIXTURE (ELECTRICAL)
E6440 | LIGHT CONTROL GEAR | LIGHTING FIXTURES CONTL. GEARS (ELECTRICAL)
E6441 | EX LIGHT FIXTURES | EXPLOSION PROOF LIGHT FIXTURES (ELECTRICAL)
E6442 | LAMPS | LAMPS (ELECTRICAL)
E6445 | DIMMER CONTROL SYS | DIMMER CONTROL SYSTEM (ELECTRICAL)
E6446 | LIGHTING CONTROL SYS | LIGHTING CONTROL SYSTEM (ELECTRICAL)
E6450 | AIR FIELD LIGHTING | AIR FIELD LIGHTING FIXTURES (ELECTRICAL)
E6451 | TAXI / RUNWAY SIGNS | TAXI / RUNWAY SIGNS (ELECTRICAL)
E6452 | PRECI. APP. PATH | PRECI. APP. PATH INDICATORS (ELECTRICAL)
E6453 | AIRCRAFT WARNING | AIRCRAFT WARNING LIGHTS (ELECTRICAL)
E6457 | RUNWAY PAVE. SEAL. | RUNWAY PAVE. SEAL. ADHESIVE (ELECTRICAL)
E6458 | CONSTANT CURRENT REG | CONSTANT CURRENT REGULATOR (ELECTRICAL)
E6459 | AIRFIELD LRC.SY MDB | AIRFIELD L.R.C.SY.MAIN PANELS (ELECTRICAL)
E6460 | WIND CONES | WIND CONES (ELECTRICAL)
E6461 | WIND TEE | WIND TEE (ELECTRICAL)
E6500 | SYSS EQUIPMENT | SYSTEMS EQUIPMENT (ELECTRICAL)
E6501 | FIRE ALARM SYSS EQP. | FIRE ALARM SYSTEMS EQUIPMENT (ELECTRICAL)
E6502 | FIRE ALARM PANELS | FIRE ALARM CONTROL PANELS (ELECTRICAL)
E6503 | SMOKE DETECTOR | SMOKE DETECTOR (ELECTRICAL)
E6504 | FIRE DETECTOR | FIRE DETECTOR (ELECTRICAL)
E6505 | MANUAL PULL STATION | MANUAL PULL STATION (ELECTRICAL)
E6506 | AV ALARM U. | AUDIO AND VISUAL ALARM U. (ELECTRICAL)
E6507 | STRUCTURE CABLING | STRUCTURE CABLING (ELECTRICAL)
E6508 | TELEP. IP SYS (TOIP) | TELEPHONE OVER IP SYSTEM (TOIP) (ELECTRICAL)
E6509 | IP TV SYS (IPTV) | IP TELEVISION SYSTEM (IPTV) (ELECTRICAL)
E6510 | MASTER CLOCK SYS | MASTER CLOCK & PRO. SYSTEM EQP. (ELECTRICAL)
E6511 | PLUG-IN CLOCKS | PLUG-IN CLOCKS (ELECTRICAL)
E6520 | TELEPHONE SYS EQP | TELEPHONE SYSTEM EQUIPMENT (ELECTRICAL)
E6521 | TELEPHONE SETS | TELEPHONE SETS (ELECTRICAL)
E6522 | VIDEO DOOR PHONE | VIDEO DOOR PHONE (ELECTRICAL)
E6523 | PV MOBILE RADIO SYS | PRIVATE MOBILE RADIO SYSTEM (ELECTRICAL)
E6524 | EX PROOF TELEPHONES | EXPLOSION PROOF TELEPHONES (ELECTRICAL)
E6525 | INTERCOM SYS | INTERCOM SYSTEM (ELECTRICAL)
E6526 | INTERCOM MASTER STN | INTERCOM MASTER STATION (ELECTRICAL)
E6527 | LANGUAGE LAB EQP | LANGUAGE LABORATORY EQUIPMENT (ELECTRICAL)
E6528 | INTERCOM CONTROLLER | INTERCOM CONTROLLER (ELECTRICAL)
E6530 | PUBLIC ADDRESS SYS | PUBLIC ADDRESS SYSTEM EQUIPMENT (ELECTRICAL)
E6535 | AUDIO VISUAL SYS | AUDIO VISUAL SYSTEM (ELECTRICAL)
E6536 | HOME AUTOMATION | HOME AUTOMATION (ELECTRICAL)
E6537 | MOTION DETECTORS | MOTION DETECTORS (ELECTRICAL)
E6540 | TV / RADIO SYSS EQP | TV / RADIO SYSTEMS EQUIPMENT (ELECTRICAL)
E6541 | MASTER ANTENNA | MASTER ANTENNA (SMATV) (ELECTRICAL)
E6543 | WIRELESS ANTENNA | WIRELESS ANTENNA
E6545 | PROJECTION EQUIPMENT | PROJECTION EQUIPMENT (ELECTRICAL)
E6550 | BURGLAR ALARM SYSS | BURGLAR ALARM SYSTEMS EQUIPMENT (ELECTRICAL)
E6554 | CAR PARK MANAGEMENT | CAR PARK MANAGEMENT (ELECTRICAL)
E6555 | CARD ACCESS CONTROL | CARD ACCESS CONTROL (ELECTRICAL)
E6556 | CCTV SYS | CCTV SYSTEM (ELECTRICAL)
E6557 | PNEUMATIC TUBE SYS | PNEUMATIC TUBE SYSTEM (ELECTRICAL)
E6560 | CALL SYSS EQUIPMENT | CALL SYSTEMS EQUIPMENT (ELECTRICAL)
E6565 | WIRELESS PAG.S | SIGNALING WIRELESS PAG.S (ELECTRICAL)
E6570 | MALFUN. SECU. & A.S. | MALFUN. SECU. ANNUNTOR & A.S. (ELECTRICAL)
E6571 | REMOTE HAZARD IND | REMOTE HAZARD INDICATOR ALARM (ELECTRICAL)
E6575 | BOOK DETECTION SYS | BOOK DETECTION SYSTEM (ELECTRICAL)
E6579 | DATA NETWORK & WIFI | DATA NETWORK EQUIP. & WIRELESS LAN (ELECTRICAL)
E6580 | SCOREBOARDS | SCOREBOARDS (ELECTRICAL)
E6581 | CUSS SYS | COMMON USE OF SELF SERVICE (CUSS) (ELECTRICAL)
E6582 | CUPPS SYS | COMMON USE OF PASSENGER PROCESSING SYS (CUPPS) (ELECTRICAL)
E6585 | COMPUTER & ACC'S | COMPUTER & ACC'S (ELECTRICAL)
E6586 | SCADA SYS | SCADA SYSTEM (ELECTRICAL)
E6587 | AIRCRAFT SERV PITS | AIRCRAFT SERVICE PITS (ELECTRICAL)
E6590 | SPL. SIGNAL CON. SYS | SPL. SIGNAL CONTROL SYSTEM (ELECTRICAL)
E6591 | AODB SYS | AIRPORT OPERATIONS DATA BASE (AODB) (ELECTRICAL)
E6592 | IASS SYS | INTERGRATED AIRCRAFT STAND SYSTEM (IASS) (ELECTRICAL)
E6593 | RMS SYS | RESOURCE MANAGEMENT SYSTEM (RMS) (ELECTRICAL)
E6594 | THERMAL ENERGY METER | THERMAL ENERGY METER (ELECTRICAL)
E6595 | BMS | BUILDING MANAGEMENT SYSTEM (ELECTRICAL)
E6596 | VGDS SYS | VISUAL GUIDANCE DOCKING SYSTEM (VGDS) (ELECTRICAL)
E6597 | 400Hz GPU | 400HZ GROUND POWER SYSTEM (ELECTRICAL)
E6598 | FIDS SYS | FLIGHT INFO DISPLAY SYSTEM (FIDS) (ELECTRICAL)
E6599 | INFORMATION KIOSK | INFORMATION KIOSK (ELECTRICAL)
E6600 | GENERATORS EQP | GENERATORS & RELATED EQUIPMENT (ELECTRICAL)
E6601 | GENERATORS ACCS | GENERATORS MECHANICAL ACC'S (ELECTRICAL)
E6602 | GENERATORS ELC ACC'S | GENERATORS ELECTRICAL ACC'S (ELECTRICAL)
E6603 | GROUND POWER UNITS | GROUND POWER UNITS
E6610 | ATS | AUTO-TRANSFER SWITCHES (ELECTRICAL)
E6625 | BATTERIES | BATTERIES (ELECTRICAL)
E6626 | CENTRAL BATTERY SYS | CENTRAL BATTERY SYSTEM (ELECTRICAL)
E6650 | UPS | UNINTER. POWER SUPPLY SYSTEM (ELECTRICAL)
E6660 | BED HEAD UNITS | BED HEAD UNITS (ELECTRICAL)
E6661 | PHOTOCELLS | PHOTOCELLS (ELECTRICAL)
E6700 | ELEC DIST SYS EQUIP. | ELECTRICAL DISTR. SYSTEMS EQUIPMENT (ELECTRICAL)
E6701 | HV SWITCHGEARS | H.V. METAL ENCLOSURE SWITCHGEARS (ELECTRICAL)
E6702 | HV METAL ENCL SWITCH | H.V. METAL ENCLOSURE SWITCH PM. (ELECTRICAL)
E6703 | KWH METER ENCLOSURE | KWH METER ENCLOSURE (ELECTRICAL)
E6704 | PACKAGE SUBSTATION | PACKAGE SUBSTATION (ELECTRICAL)
E6706 | POWER XFORMERS | POWER XFORMERS PADM. (O/DR) (ELECTRICAL)
E6707 | DRY TYPE TRANSFORMER | DRY TYPE TRANSFORMERS (ELECTRICAL)
E6710 | L.V. FEEDER PILLARS | L.V. FEEDER PILLARS / PEDLS (ELECTRICAL)
E6715 | H.V. AUTOMATION SYS | H.V. AUTOMATION SYSTEM (ELECTRICAL)
E6720 | BUSWAY / BUSBAR SYSS | BUSWAY / BUSBAR SYSTEMS (ELECTRICAL)
E6730 | POWER METERS | POWER METERS (ELECTRICAL)
E6740 | VOLTAGE REGULATORS | VOLTAGE REGULATORS (ELECTRICAL)
E6750 | GROUNDING & LIGHNG. | GROUNDING & LTG PROTECTION SYSTEM (ELECTRICAL)
E6751 | GROUNDING REELS | GROUNDING REELS (ELECTRICAL)
E6760 | CATHODIC PROTECTION | CATHODIC PROTECTION (ELECTRICAL)
E6800 | WIRING ACCESSORIES | WIRING ACCESSORIES (ELECTRICAL)
E6801 | MOBILE X-RAY RECEPT. | MOBILE X-RAY RECEPTACLE (ELECTRICAL)
E6802 | ISOLATORS | ISOLATORS (ELECTRICAL)
E6803 | EX. WIRRING ACCESS. | EXPLOSION PROOF WIRRING ACCESSORIES (ELECTRICAL)
E6804 | SPARK PROOF W. ACCS. | SPARK PROOF WIRRING ACCESSORIES (ELECTRICAL)
E6810 | GOLD PLATED W. ACCS. | GOLD PLATED WIRING ACC'S (ELECTRICAL)
E6820 | BELLS, BUZZ. & CHIME | BELLS, BUZZ. & CHIME DEVICES (ELECTRICAL)
E6900 | EL. APPLIA/MOTORS | EL. APPLIANCES & MOTORS (ELECTRICAL)
E6901 | LIFTS & ELEVATORS | ELECTRIC LIFTS & ELEVATORS (ELECTRICAL)
E6910 | HAND DRYERS | HAND DRYERS (ELECTRICAL)
E6915 | ELEC. INSECT KILLERS | ELECTRIC INSECT KILLERS (ELECTRICAL)
E6920 | REFRIGERATORS | REFRIGERATORS (ELECTRICAL)
E6925 | WATER COOLERS | WATER COOLERS (ELECTRICAL)
E6930 | DRINKING FOUNTAIN | CENTL. CHILL. F. DRINKING FOUNTAIN (ELECTRICAL)
E6940 | ELECTRICAL MATTING | ELECTRICAL MATTING (ELECTRICAL)
E7000 | POLES | POLES (ELECTRICAL)
E7005 | OVERHEAD WORK PLATF. | OVERHEAD WORK PLATFORM (ELECTRICAL)
E7010 | POLES STEEL | POLES STEEL (ELECTRICAL)
E7011 | MASTS STEEL | MASTS STEEL (ELECTRICAL)
E7020 | POLES ALUMINIUM | POLES ALUMINIUM (ELECTRICAL)
E7030 | POLES WOODEN | POLES WOODEN (ELECTRICAL)
E7035 | POLES FIBREGLASS | POLES FIBREGLASS (ELECTRICAL)
E7038 | RELAMPING POLES | RELAMPING POLES (ELECTRICAL)
E7040 | POLES SAUNDRIES | POLES SAUNDRIES (ELECTRICAL)
E8000 | TRAFFIC BARRIER | TRAFFIC BARRIER (ELECTRICAL)
E9400 | TEST EQUIPMENT EL. | TEST EQUIPMENT EL. (ELECTRICAL)
E9500 | ELECTRICAL TOOLS | ELECTRICAL TOOLS (ELECTRICAL)
G0000 | GARAGE SPARE PARTS | GARAGE SPARE PARTS TOOLS AND EQUIPMENT (GARAGE)
G1000 | VEHICLES SPARE PARTS | VEHICLES SPARE PARTS (GARAGE)
G1500 | PLANT SPARE PARTS | PLANT SPARE PARTS (GARAGE)
G1600 | GARAGE TOOL & EQUIP. | GARAGE TOOLS AND EQUIPMENT (GARAGE)
G8450.1 | IDENF. OF SERV HVAC | IDENTIFICATION OF SERVICES (HVAC)
G8450.2 | IDENF. OF SERV PLM | IDENTIFICATION OF SERVICES (PLUMBING)
G8450.3 | IDENF. OF SERV EL | IDENTIFICATION OF SERVICES (ELECTRICAL)
G9101 | TESTING & COMMISION | TESTING & COMMISIONING (GENERAL)
G9102 | O&M MANUALS | O&M MANUALS (GENERAL)
G9103 | TRAINING | TRAINING (GENERAL)
G9104 | COMMISSION MANAGMENT | COMMISSIONING MANAGMENT (GENERAL)
G9200 | WKSP,STR,SHED & YARD | WORKSHOP, STORES, SHEDS & OPEN YARDS (GENERAL)
G9201 | FF&E FOR OFFICE/SITE | FF&E FOR OFFICES AND SITE ESTABLISHMENTS (GENERAL)
G9202 | GENERAL CONSUMABLES | GENERAL CONSUMABEL ITEMS (GENERAL)
G9203 | TELEPHONE BILLS | TELEPHONE BILLS (GENERAL)
G9204 | WATER & ELEC. OFFICE | WATER AND ELECTRICITY FOR OFFICE (GENERAL)
G9205 | OFFICE RENT & STORES | OFFICE RENT & STORES (GENERAL)
G9206 | CAFETERIA ITEMS | CAFETERIA ITEMS / SOFT DRINKS (GENERAL)
G9207 | MOBILE PHONE BILLS | MOBILE PHONE BILLS (GENERAL)
G9208 | INTERNET CHARGES | INTERNET CONNECTION NEW / SUBSCRIPTION CHARGES (GENERAL)
G9209 | COMPUTER CONSUMABLES | COMPUTER CONSUMABLES SOFTWARE/HARWARE (GENERAL)
G9300 | PPE | PPE (GENERAL)
G9400 | PRINT & STATIONERY | PRINTING & STATIONERY (GENERAL)
G9401 | POSTAGE & CURRIER | POSTAGE & CURRIER (GENERAL)
G9500 | GENERAL & TOOLS | GENERAL & TOOLS (GENERAL)
G9501 | MEP CONSUMABLES | MEP CONSUMABLES
G9600 | TRANSP& CLEAR CHARGE | TRANSPORATATION & CLEARING CHARGES (GENERAL)
M0000 | MECH. MATR & EQUIP. | MECHANICAL MATERIALS AND EQUIPMENT (MECHANICAL)
M4000 | MEDICAL GAS SYS | MEDICAL GAS SYSTEM (SUBCONTRACT)
M4005 | GAS SERVICE OUTLETS | GAS SERVICE OUTLETS (MEDICAL)
M4010 | GAS PRS SIGNL SWITCH | GAS PRESSURE SIGNAL SWITCH (MEDICAL)
M4012 | MULTI SERV WALL CAB | MULTI SERVICE WALL CABINET (MEDICAL)
M4015 | SURGERY CEILING CLM | SURGERY CEILING COLUMN (MEDICAL)
M4020 | VACUUM SWITCH | VACUUM SWITCH (MEDICAL)
M4025 | FREE STAND MANIFOLD | FREE STANDING MANIFOLD (MEDICAL)
M4200 | DUCT INSULATION | DUCT INSULATION (HVAC)
M4201 | DUCT FLEX INSULT. | DUCT FLEXIBLE FACED INSULATION (MECHANICAL)
M4202 | DUCT RIGID INSULT. | DUCT RIGID FACED INSULATION (MECHANICAL)
M4203 | DUCT RIGID UNFACED | DUCT RIGID PLAIN INSULATION (MECHANICAL)
M4205 | ACOUSTIC INSULATION | ACOUSTIC INSULATION (HVAC)
M4206 | INSULATION ADHESIVES | INSULATION ADHESIVES (HVAC)
M4207 | INSUL. FASTENERS | INSULATION MECHANICAL FASTENERS (MECHANICAL)
M4208 | ADHESIVE TAPES | ADHESIVE TAPES (HVAC)
M4209 | CALICO MATERIAL | CALICO MATERIAL (HVAC)
M4211 | INSULATION COATINGS | INSULATION COATINGS (HVAC)
M4322 | SILENCERS | SILENCERS (HVAC)
M5100 | AC EQUIPMENT | AIRCONDITIONING EQUIPMENT (MECHANICAL)
M5101 | CHILLERS | CHILLERS (HVAC)
M5105 | PACKAGE UNITS | PACKAGE UNITS (MECHANICAL)
M5106 | CLOSE CONTROL UNITS | CLOSE CONTROL UNITS (HVAC)
M5110 | AIR HANDLING UNITS | AIR HANDLING UNITS (HVAC)
M5111 | MAKE UP UNITS | MAKE UP UNITS (HVAC)
M5112 | THERMAL WHEEL ERU | THERMAL WHEEL HEAT RECOVERY SYSTEM (HVAC)
M5113 | AIR TO AIR ERU | AIR TO AIR ENERGY RECOVERY UNITS (HVAC)
M5115 | WINDOW AC UNITS | THROUGH WALL AIR CONDITIONING UNITS (HVAC)
M5119 | PCA | PRECONDITIONING AIR UNITS (PCA) (HVAC)
M5120 | FAN COIL UNITS | FAN COIL UNITS (HVAC)
M5125 | SPLIT AC UNITS | SPLIT AIR CONDITIONING UNITS (HVAC)
M5130 | DUCT MNT. EL. HEATER | DUCT MOUNTED ELECTRIC HEATER BATTERIES (MECHANICAL)
M5135 | WALL MNT. EL. HEATER | ELECTRIC WALL MOUNTED AIR HEATERS (MECHANICAL)
M5138 | PACKAGE HEATPUMPS | PACKAGE HEATPUMPS (MECHANICAL)
M5140 | HUMIDIFIERS | HUMIDIFIERS (MECHANICAL)
M5141 | DEHUMIDIFIERS | DEHUMIDIFIERS (MECHANICAL)
M5145 | COOLING COILS | COOLING COILS (MECHANICAL)
M5150.1 | VIBRATION ISOLATORS | INERTIA BASES / VIBRATION ABSORBERS (HVAC)
M5150.2 | VIBRATION ISOLATORS | INERTIA BASES / VIBRATION ABSORBERS (PLUMBING)
M5160 | HVAC CONTROLS | HVAC CONTROLS (SENSORS, CONTROLLERS, ACTUATORS, THST) (HVAC)
M5161 | HVAC CONTROL PANELS | HVAC CONTROL PANELS (HVAC)
M5162 | AIR FLOW METER | AIR FLOW METER, DUCT MOUNTED (MECHANICAL)
M5200 | VENTILATION EQUIP. | VENTILATION EQUIPMENT (MECHANICAL)
M5201 | FANS | ROOF/WALL MOUNTED EXHAUST/SUPPLY FANS (HVAC)
M5201.1 | JET FANS W/ CFD ANLY | JET FANS WITH CFD ANALYSIS
M5202 | PROPELLER FANS | PROPELLER FANS (MECHANICAL)
M5206 | IN LINE FANS | IN LINE FANS (MECHANICAL)
M5210 | AEROFOIL AXIAL FANS | AEROFOIL AXIAL FANS (MECHANICAL)
M5211 | WALL MNT. FANS | WALL MOUNTED AIR CIRCULATION FANS (MECHANICAL)
M5215 | CEILING MNT. FANS | CEILING MOUNTED AIR CIRCULATION FANS (MECHANICAL)
M5220 | TURBINE VENTILATORS | TURBINE VENTILATORS (MECHANICAL)
M5225 | AIR CURTAINS | AIR CURTAINS (HVAC)
M5230 | AIR FILTERS | AIR FILTERS (MECHANICAL)
M5231 | SAW DUST SYSS ACCES. | SAW DUST SYSTEMS ACCESSORIES (MECHANICAL)
M5232 | HEPA FILTERS DUCTED | HEPA FILTERS (DUCTED) (HVAC)
M5234 | SPARK ARRESTORS | SPARK ARRESTORS (MECHANICAL)
M5235 | AIR WASHERS | AIR WASHERS (MECHANICAL)
M5240 | FUME EXHAUST SYSS | FUMES EXHAUST SYSTEMS ACCESSORIES (MECHANICAL)
M5250 | ODOUR FILTERATION | ODOUR FILTERATION UNITS (MECHANICAL)
M5251 | ECOLOGY UNITS | ECOLOGY UNITS
M5300 | DUCTWORK MATERIALS | DUCTWORK MATERIALS (MECHANICAL)
M5301 | GALVANISED DUCTWORK | GALVANISED DUCTWORK (HVAC)
M5302 | BLACK STEEL DUCTWORK | BLACK STEEL DUCTWORK (HVAC)
M5302.1 | BLACK STEEL SHEET | BLACK STEEL SHEET (HVAC)
M5303 | SS DUCTWORK | STAINLESS STEEL DUCTWORK (MECHANICAL)
M5304 | ALUM SHEET METAL | ALUMINIUM SHEET METAL (MECHANICAL)
M5305 | PVC SHEET | PVC SHEET (MECHANICAL)
M5306 | COPPER/BRASS SHEET | COPPER/BRASS SHEET (MECHANICAL)
M5307 | PIR RIGID DUCT | PRE-INSULATED RIGID DUCT (MECHANICAL)
M5308 | GI DUCTWORK | GI DUCTWORK (MECHANICAL)
M5309 | FABRIC DUCTWORK | FABRIC DUCTWORK (MECHANICAL)
M5310 | VCD ACCESS | VOLUME CONTROL DAMPERS ACCESSORIES (HVAC)
M5311 | ACCESS DOOR & ACCESS | ACCESS DOORS AND ACCESSORIES (HVAC)
M5312 | TURN. VANES & ACCESS | TURNING VANES AND ACCESSORIES (MECHANICAL)
M5313 | NON-RETURN DAMPERS | NON-RETURN DAMPERS (MECHANICAL)
M5314 | BAROMETRIC BDD | BAROMETRIC BACK DRAFT DAMPER (MECHANICAL)
M5315 | SMOKE & FIRE DAMPERS | SMOKE & FIRE DAMPERS (HVAC)
M5316 | MOTORISED DAMPERS | MOTORISED DAMPERS (HVAC)
M5317 | MOTORISED FD | MOTORISED FIRE DAMPERS (HVAC)
M5318 | MOTORISED SD | MOTORISED SMOKE DAMPERS (HVAC)
M5319 | MOTORISED FSD | MOTORISED FIRE & SMOKE DAMPERS (HVAC)
M5320 | SOUND ATTENUATORS | SOUND ATTENUATORS ACOUSTIC ENCLOSURES (HVAC)
M5321 | MODULATING DAMPERS | MODULATING DAMPERS (HVAC)
M5330 | UNDERGRD. HVAC DUCT | UNDERGROUND HVAC DUCT AND ACCESSORIES (MECHANICAL)
M5335 | FLEXIBLE DUCTS | FLEXIBLE DUCTS (HVAC)
M5336 | PIR FLEXIBLE DUCTS | PREINSULATED FLEXIBLE DUCTS (MECHANICAL)
M5337 | SEMI RIGID ALUM DUCT | SEMI RIGID ALUMINIUM DUCTS (MECHANICAL)
M5340 | SPIRAL DUCTS & FITT | SPIRAL DUCTS AND FITTINGS (HVAC)
M5341 | SS CIRCULAR DUCTS | STAINLESS STEEL CIRCULAR DUCTS (HVAC)
M5345 | FLEX DUCT CONNS | FLEXIBLE DUCT CONNECTIONS (MECHANICAL)
M5350 | TEST HOLE PLUGS | TEST HOLE PLUGS (MECHANICAL)
M5355 | DUCT SEALANT | DUCT SEALANT (HVAC)
M5360 | HVAC SUNDRIES | HVAC SUNDRIES (BOLTS&NUTS, SCREWS, WIRE MESH,GASKET) (HVAC)
M5361 | POP RIVETS | POP RIVETS (MECHANICAL)
M5362 | ANCHORS | ANCHORS (MECHANICAL)
M5400 | AIR TERMINALS | AIR TERMINALS (MECHANICAL)
M5401.1 | AIR OUTLETS | DIFFUSERS, REGISTERS, GRILLES, EXT.LOUVERS (HVAC)
M5401.2 | SS AIR OUTLETS | STAINLESS STEEL GRILLES & DIFFUSERS (HVAC)
M5401.3 | GRILLE CW HEPA FILT. | GRILLES WITH HEPA FILTERS (HVAC)
M5401.4 | ACOUSTIC LOUVERS | ACOUSTIC LOUVERS (HVAC)
M5401.5 | SWIRL DIFFUSERS | SWIRL DIFFUSERS (HVAC)
M5404 | SAND TRAP LOUVERS | SAND TRAP LOUVERS (MECHANICAL)
M5405 | DUST COLLECTORS | DUST COLLECTORS (MECHANICAL)
M5410 | VAV BOXES | VARIABLE AIR VOLUME BOXES (HVAC)
M5420 | HOODS | HOODS (MECHANICAL)
M5425 | RELIEF/INTAKE VENT | RELIEF/INTAKE VENTILATORS (MECHANICAL)
M5426 | UC VENTILATION SYS | ULTRA CLEAN VENTILATION SYSTEM (HVAC)
M5500 | GAS SYS (NATURAL) | GAS SYSTEM (NATURAL GAS) (MECHANICAL)
M5600 | CO SYS | CO SYSTEM (MECHANICAL)
M5800 | PUMPS | PUMPS (MECHANICAL)
M5802 | PLUMBING WATER PUMPS | PLUMBING WATER PUMPS (PLUMBING)
M5803 | BOOSTER PUMPS | BOOSTER PUMPS (PLUMBING)
M5804 | TRANSFER PUMPS | TRANSFER PUMPS (PLUMBING)
M5805 | CHILLED WATER PUMPS | CHILLED WATER PUMPS (HVAC)
M5810 | FUEL TRANSFER PUMPS | FUEL TRANSFER PUMPS (FUEL)
M5811 | WATER FUEL SEPARATOR | WATER FUEL SEPARATOR (MECHANICAL)
M5815 | HOT WATER PUMPS | HOT WATER PUMPS (MECHANICAL)
M5816 | CIRCULATING PUMPS | CIRCULATING PUMPS (MECHANICAL)
M5820 | FIRE FIGHT. WTR PUMP | FIRE FIGHTING WATER PUMPS (MECHANICAL)
M5821 | SUMP VALVES | SUMP VALVES (MECHANICAL)
M5822 | PUMP DISCHARGE VALVE | PUMP DISCHARGE MULTIFUCTION VALVES (PLUMBING)
M5825 | CHEMICAL DOSING PUMP | CHEMICAL DOSING PUMPS (STEAM)
M5826.1 | SUBMESIBLE PUMPS | SUBMESIBLE PUMPS (DRAINAGE)
M5826.2 | PUMPING STATION | SURFACE WATER PUMPING STATION (DRAINAGE)
M5827 | IRIGATION PUMPS | IRIGATION PUMPS (EXTERNAL)
M5830 | CONDENSATION PUMPS | CONDENSATION PUMPS (HVAC)
M5831 | CONDEN. REC. EQUIP. | CONDENSATION RECOVERY TANK & PUMPS (STEAM)
M5832 | PUMP SUCTION DIFF. | PUMP SUCTION DIFFUSER (PLUMBING)
M5900 | MCH TOOLS EQUIP | MECHANICAL TOOLS EQUIPMENT & INSTRUMENTS (MECHANICAL)
M5910 | AIR COMPRESSORS | AIR COMPRESSORS (PLUMBING)
M5915 | MECH. INSTRUMENTS | MECHANICAL INSTRUMENTS (FLUE GAS ANALYZER) (STEAM)
M5950 | COMPRESSED AIR SYS | COMPRESSED AIR SYSTEM (MECHANICAL)
M5951 | OXY ACCETELYNE SYS | OXY ACCETELYNE SYSTEM (MECHANICAL)
M5952 | FUELLING & SERVICING | FUELLING AND SERVICING SYSTEMS (MECHANICAL)
M5955 | HYD. LIFTS & ELEV. | HYDRAULIC LIFTS AND ELEVATORS (MECHANICAL)
M5960 | CRANE | CRANE (MECHANICAL)
P0000 | PLM MTR & EQUIP. | PLUMBING MATERIALS AND EQUIPMENT (PLUMBING)
P0010 | SUNDRIES PLUMBING | SUNDRIES PLUMBING (PLUMBING)
P0020 | SANITARY | SANITARY FIXTURES AND FITTINGS (PLUMBING)
P0021 | SANITARY CARRIERS | SANITARY FIXTURES CARRIERS (PLUMBING)
P0022 | SS KITCHEN SINK | STAINLESS SINK KITCHEN SINK (PLUMBING)
P0023 | PLUMBING TRIM FITT | PLUMBING TRIM FITTINGS (DRAINAGE)
P0030 | ACID NEUTR. BASINS | ACID NEUTRALISING BASINS (PLUMBING)
P0040 | ATM SILVER REC. UNIT | AUTOMATIC SILVER RECOVERY UNIT (DRAINAGE)
P0050 | DRAINS | DRAINS (PLUMBING)
P0051 | FD & CLEANOUTS | FLOOR DRAINS & CLEANOUTS (DRAINAGE)
P0052.1 | INTERCEPTORS | GREASE, OIL & SAND INTERCEPTORS (DRAINAGE)
P0052.2 | SENDIMENT INTERTRS. | SENDIMENT INTERCEPTORS (DRAINAGE)
P0053 | SUPPLY & DRAIN | SUPPLY & DRAIN UNITS FOR WASHING MATERIALS (PLUMBING)
P0054 | TRAP PRIMERS | TRAP PRIMERS
P0055 | WATER FILTERS | WATER FILTERS (PLUMBING)
P0060 | POOL EQPT. & ACC'S | SWIMMING POOL PLUMBING EQPT. & ACC'S (PLUMBING)
P0061 | POOL CHEMICAL SYS | SWIMMING POOL CHEMICAL SYSTEM (PLUMBING)
P1000 | FIRE FIGHTING | FIRE FIGHTING SYSTEMS & ACCESSORIES (SUBCONTRACT)
P1001 | SPRINKLER | SPRINKLER SYSTEMS AND ACCESSORIES (PLUMBING)
P1002 | FIRE STOPPING | FIRE STOPPING (PLUMBING)
P1004 | FIRE BLANKET | FIRE BLANKET (PLUMBING)
P1005 | HOSE REELS & CABINET | HOSE REELS AND CABINETS (EXTERNAL)
P1010 | DRY RISER SYS | DRY RISER SYSTEM (PLUMBING)
P1020 | FIRE HYDRANTS | FIRE HYDRANTS (EXTERNAL)
P1030 | INERGEN SYS | INERGEN SYSTEM (PLUMBING)
P1040 | DRY CHEMICAL SYS | DRY CHEMICAL SYSTEM (PLUMBING)
P1050 | HALON SYS | HALON SYSTEM (PLUMBING)
P1060 | CO2 SYSS | CO2 SYSTEMS (PLUMBING)
P1070 | FM200 SYS | FM200 FIRE PROTECTION SYSTEM (PLUMBING)
P1080 | FIRE EXTINGUISHERS | PORTABLE FIRE EXTINGUISHERS (EXTERNAL)
P2000 | WTR DISTRIB. MTR. | WATER DISTRIBUTION MATERIALS (PLUMBING)
P2001 | PEX PIPES & FITTINGS | PEX PIPES & FITTINGS (PLUMBING)
P2002 | PPR PIPES & FITTINGS | PPR PIPES & FITTINGS (PLUMBING)
P2003 | FG PIPES & FITT | FIBREGLASS PIPES & FITTINGS (PLUMBING)
P2004 | PE PIPE AND FITTING | POLYETHYLENE PIPE AND FITTING (PLUMBING)
P2005.1 | CPVC PIPES AND FITT | CPVC PIPES AND FITTINGS (HVAC)
P2005.2 | CPVC PIPES AND FITT | CPVC PIPES AND FITTINGS (PLUMBING)
P2006 | PPR PIPES & FITT | POLYPROPYLENE PIPES & FITTINGS (DRAINAGE)
P2006.1 | CHEM RES PIPE & FITT | CHEMICAL RESISTANT PIPES AND FITTINGS (DRAINAGE)
P2007 | HDPE PIPES & FITT | LDPE/HDPE PIPES & FITTINGS (EXTERNAL)
P2008 | PBU PIPES & FITT | POLYBUTELENE PIPES & FITTINGS (DRAINAGE)
P2009 | PVC PIPES & FITT | SOIL & WASTE PIPES & FITTINGS (DRAINAGE)
P2010.1 | UPVC PIPES AND FITT | UPVC PIPES AND FITTINGS (DRAINAGE)
P2010.2 | UPVC PIPES AND FITT | UPVC PIPES AND FITTINGS (EXTERNAL)
P2011 | PLASTIC VALVES | PLASTIC VALVES (PLUMBING)
P2012 | PERFORATED PVC PIPE | PERFORATED PVC PIPE (PLUMBING)
P2013 | GRP PIPES & FITTINGS | GRP PIPES & FITTINGS (PLUMBING)
P2014 | GRE PIPES & FITT | RTRP (GRE) PIPES & FITTINGS (HVAC)
P2015 | MARKING/WARNING TAPE | MARKING/WARNING TAPE (MECHANICAL) (PLUMBING)
P2020.1 | CU PIPES AND FITT | COPPER PIPES AND FITTINGS (PLUMBING)
P2020.2 | CUPIPES AND FITT | COPPER PIPES AND FITTINGS (EXTERNAL)
P2021 | PCU PIPES AND FITT | PREINSULATED COPPER PIPES AND FITTINGS (PLUMBING)
P2022 | REFG. PIPING & ACCSS | REFRIGARATION PIPING AND ACCESSORIES (HVAC)
P2023 | BRASS FITT & ACCESS | BRASS FITTINGS & ACCESSORIES (PLUMBING)
P2025 | COMPRESSION FITTINGS | COMPRESSION FITTINGS (PLUMBING)
P2030 | ASBESTOS PIPE & FITT | ASBESTOS PIPES AND FITTINGS (PLUMBING)
P2031 | P.ASBESTOS PIPE & FT | PREINSULATED ASBESTOS PIPES AND FITTINGS (PLUMBING)
P2032 | PERF ASB PIPE & FITT | PERFORATED ASBESTOS PIPES AND FITTINGS (PLUMBING)
P2033 | CLAY PIPES AND FITT | CLAY PIPES AND FITTINGS (DRAINAGE)
P2034 | VENT TERMINALS | VENT TERMINALS (PLUMBING)
P2035 | CI PIPES AND FITT | CAST IRON PIPES AND FITTINGS (DRAINAGE)
P2036 | GI PIPES & FITTINGS | GI PIPES & FITTINGS (DRAINAGE)
P2037.1 | DI PIPES & FITT | DUCTILE IRON PIPES AND FITTINGS (PLUMBING)
P2037.3 | DI PIPES & FITT EXT | DUCTILE IRON PIPES AND FITTINGS (WN) (EXTERNAL)
P2037.4 | DI PIPES & FITT FF | DUCTILE IRON PIPES AND FITTINGS (FF) (EXTERNAL)
P2037.5 | DI PIPES & FITT IS | DUCTILE IRON PIPES AND FITTINGS (IS) (EXTERNAL)
P2037.6 | DI PIPES & FTT SWD | DUCTILE IRON PIPES AND FITTINGS (SWD) (EXTERNAL)
P2037.7 | DI PIPES & FITT FDS | DUCTILE IRON PIPES AND FITTINGS (FDS) (EXTERNAL)
P2040.1 | STEEL PIPES & FITT | STEEL PIPES AND FITTINGS (HVAC)
P2040.2 | STEEL PIPES & FITT | STEEL PIPES AND FITTINGS (FF)
P2040.3 | STEEL PIPES & FITT | STEEL PIPES AND FITTINGS (STEAM)
P2040.4 | STEEL PIPES & FITT | STEEL PIPES AND FITTINGS (FUEL)
P2040.5 | STEEL PIPE & FITT CW | STEEL PIPES AND FITTINGS (CW) (EXTERNAL)
P2040.6 | STEEL PIPE & FITT ST | STEEL PIPES AND FITTINGS (ST) (EXTERNAL)
P2041 | P. STEEL PIPE & FITT | PREINSULATED STEEL PIPES AND FITTINGS (HVAC)
P2045 | FLASHING FOR PIPES | FLASHING FOR PIPES (PLUMBING)
P2046 | STEAM TRAP | STEAM TRAP (STEAM)
P2047 | DEAERATOR | DEAERATOR (STEAM)
P2048 | FLASH STEAM SEPAR. | FLASH STEAM SEPARATOR & BLOW DOWN VESSEL (STEAM)
P2049 | VALVE BOX | VALVE BOX (PLUMBING)
P2049.1 | VALVE BOX (IS) | VALVE BOX (IS) (EXTERNAL)
P2050.1 | VALVES (GENERAL) | VALVES (GENERAL) (HVAC)
P2050.10 | VALVE (GENERAL) SCS | VALVES (GENERAL) (SCS) (EXTERNAL)
P2050.2 | VALVES (GENERAL) | VALVES (GENERAL) (PLUMBING)
P2050.3 | VALVES (GENERAL) | VALVES (GENERAL) (DRAINAGE)
P2050.4 | VALVES (GENERAL) | VALVES (GENERAL) (STEAM)
P2050.5 | VALVE (GENERAL) FF | VALVES (GENERAL) (FF) (FF)
P2050.6 | VALVES (GENERAL) | VALVES (GENERAL) (FUEL)
P2050.7 | VALVE (GENERAL) WN | VALVES (GENERAL) (WN) (FF)
P2050.8 | VALVES GENERAL) IS | VALVES GENERAL) (IS) (EXTERNAL)
P2050.9 | VALVE (GENERAL) CCS | VALVES (GENERAL) (CCS) (EXTERNAL)
P2051 | BALANCING VALVES | BALANCING VALVES (PLUMBING)
P2052 | AIR VENTS | AIR VENTS (MANUAL OR AUTOMATIC) (PLUMBING)
P2053 | WATER METERS | WATER METERS (PLUMBING)
P2054.1 | PRS VALVE/STAT HVAC | PRESSURE REDUCING VALVES/STATION (HVAC)
P2054.2 | PRS VALVE/STAT PLM | PRESSURE REDUCING VALVES/STATION (PLUMBING)
P2055.1 | STRAINERS | STRAINERS (HVAC)
P2055.2 | STRAINERS | STRAINERS (PLUMBING)
P2056 | BACKFLOW BREVENTORS | BACKFLOW BREVENTORS (PLUMBING)
P2057 | WTR HAMMER ARRESTORS | WATER HAMMER ARRESTORS (PLUMBING)
P2058.1 | FPC & EXP JNT HVAC | FLEXIBLE PIPE CONNECTIONS & EXPANSION JOINTS (HVAC)
P2058.2 | FPC & EXP JNT PLM | FLEXIBLE PIPE CONNECTIONS & EXPANSION JOINTS (PLUMBING)
P2059 | HOSE BIBS | HOSE BIBS (PLUMBING)
P2060 | COLD WTR TANKS | COLD WATER STORAGE TANKS (PLUMBING)
P2061 | CONCRETE WTR TANKS | CONCRETE WATER RESERVOIR ACCESSORIES (PLUMBING)
P2062 | WTR LEVEL CTRL. | WATER LEVEL MECHANICAL CONTROLLERS (PLUMBING)
P2063 | FEED WATER TANKS | FEED WATER TANKS (STEAM)
P2064 | DRINKING FOUNTAINS | DRINKING FOUNTAINS (PLUMBING)
P2070 | SPRINKLER WTR TANKS | SPRINKLER WATER TANKS (PLUMBING)
P2071 | SPECIAL TANKS | SPECIAL TANKS (PLUMBING)
P2072 | L.P. GAS TANK | L.P. GAS TANK (PLUMBING)
P2075 | FUEL TANKS | FUEL TANKS (FUEL)
P2076 | FUEL TANK ACCESS. | FUEL TANK ACCESSORIES (FUEL)
P2077 | FUEL TANK SUPPORT | FUEL TANK SUPPORT (FUEL)
P2078 | SEWAGE TREAT PLANT | SEWAGE TREATMENT PLANT (PLUMBING)
P2079 | FUEL FILLING CABINET | FUEL FILLING CABINETS (FUEL)
P2080 | CHW TREAT SYSS | CHILLED WATER TREATMENT SYSTEMS (HVAC)
P2081 | CHW TREAT CHEMICALS | CHILLED WATER TREATMENT CHEMICALS (HVAC)
P2082 | DISINFEN. & FLASHING | DISINFENCTION, FLASHING & WATER TREATMENT (PLUMBING)
P2083 | WATER SOFTENER | WATER SOFTENER (PLUMBING)
P2084 | CHILLED WTR VESSELS | CHILLED WATER VESSELS (PLUMBING)
P2085 | PRES. & EXP. VESSEL | PRESURISATION UNIT / EXPANSION VESSEL (HVAC)
P2086 | AIR SEPARATOR | AIR SEPARATOR TANK FOR CHILLED WATER (HVAC)
P2087 | CHW LEAK DETECTION | CHILLED WATER LEAK DETECTION SYSTEM (HVAC)
P2088 | CHEMICAL DOSING POT | CHEMICAL DOSING POT (HVAC)
P2089 | AIRCRAFT WASH SYSTEM | AIRCRAFT WASH SYSTEM
P2090 | COOLING TOWERS | COOLING TOWERS (HVAC)
P2090.1 | COOL. TWR CLEAN. SYS | COOLING TOWER CLEANING SYSTEM (HVAC)
P2093.1 | PRS/TEMP GAUGES HVAC | PRESSURE GAUGES / MANOMETERS (HVAC)
P2093.2 | PRS/TEMP GAUGES PLM | PRESSURE GAUGES / MANOMETERS (PLUMBING)
P2094 | THERMOMETERS | THERMOMETERS (PLUMBING)
P2095 | FLOW METERS | FLOW METERS (PLUMBING)
P2096 | PRS & TEMP. POINTS | PRESSURE & TEMPERATURE POINTS (PLUMBING)
P2097 | FLOW & PRS SWITCH | FLOW, TAMPER & PRESSURE SWITCHES (FF)
P2098.1 | SUPPORTS HVAC | PIPE HANGERS / GUIDES / SUPPORTS (HVAC)
P2098.2 | SUPPORTS PLM | PIPE HANGERS / GUIDES / SUPPORTS (PLUMBING)
P2098.3 | SUPPORTS DRN | PIPE HANGERS / GUIDES / SUPPORTS (DRAINAGE)
P2098.4 | SUPPORTS STREAM | PIPE HANGERS / GUIDES / SUPPORTS (STEAM)
P2098.5 | SUPPORTS FF | PIPE HANGERS / GUIDES / SUPPORTS (FF)
P2099 | MEP SUPPORTS | MEP SUPPORTS
P3000 | BOILERS | BOILERS (STEAM)
P3001 | STEAM HEADER | STEAM HEADER (PLUMBING)
P3003 | HEATING ELEMENT | HEATING ELEMENT (PLUMBING)
P3005 | TANK HEADER | TANK HEADER (PLUMBING)
P3008 | BOILER FEED UNIT | BOILER FEED UNIT (PLUMBING)
P3009 | BOILER FLUE SYS | BOILER FLUE SYSTEM (STEAM)
P3010 | ELECTRIC WTR HEATERS | ELECTRIC WATER HEATERS (PLUMBING)
P3020 | HEAT EXCHANGER (HEX) | HEAT EXCHANGER (HEX) (HVAC)
P3021 | HEAT EXCHANGER | HEAT EXCHANGER (STEAM)
P3030 | STORAGE CALORIFIERS | STORAGE CALORIFIERS (PLUMBING)
P3040 | SOLAR WATER HEATERS | SOLAR WATER HEATERS
P3050 | STEAM SYS | STEAM SYSTEM (SUBCONTRACT)
P4030 | WTR TREAT DIALYSIS | WATER TREATMENT DIALYSIS (SUBCONTRACT)
P4040 | HYDROTHERAPY POOL | HYDROTHERAPY POOL (SUBCONTRACT)
P4050 | LPG GAS SYS | LIQUIDE PROPANE GAS SYSTEM (SUBCONTRACT)
P4060 | FUEL SYS | FUEL SYSTEM (SUBCONTRACT)
P4100.1 | PIPE INSU (HVAC) | PIPE INSULATION (HVAC)
P4100.10 | PIPE INSU (SCS) | PIPE INSULATION (SCS) (EXTERNAL)
P4100.2 | PIPE INSULATION (PL) | PIPE INSULATION (PLUMBING)
P4100.3 | PIPE INSULATION (DR) | PIPE INSULATION (DRAINAGE)
P4100.4 | PIPE INSULATION (ST) | PIPE INSULATION (STEAM)
P4100.5 | PIPE INSULATION (FF) | PIPE INSULATION (FF) (FF)
P4100.6 | PIPE INSULATION (FL) | PIPE INSULATION (FUEL)
P4100.7 | PIPE INSULATION (WN) | PIPE INSULATION (WN) (EXTERNAL)
P4100.8 | PIPE INSULATION (IS) | PIPE INSULATION (IS) (EXTERNAL)
P4100.9 | PIPE INSU (CCS) | PIPE INSULATION (CCS) (EXTERNAL)
P4101 | ELAS.THERMAL INSU | ELASTOMERIC THERMAL INSULATION (PLUMBING)
P4102 | CLAD FOR PIPE INSU | CLADDING FOR PIPE INSULATION (PLUMBING)
P4102.1 | ALUM SHEET CLAD | ALUMINIUM SHEET CLADDING (HVAC)
P4102.10 | ALUM SHEET CLAD (ST) | ALUMINIUM SHEET CLADDING (ST) (EXTERNAL)
P4102.7 | ALUM SHEET CLAD (WN) | ALUMINIUM SHEET CLADDING (WN) (EXTERNAL)
P4102.9 | ALUM SHEET CLAD (CW) | ALUMINIUM SHEET CLADDING (CW) (EXTERNAL)
P4103 | UNICELL. PIPE INSU | UNICELLULAR PLASTIC PIPE INSULATION (PLUMBING)
P4160 | STEAM SUB PACKAGE | STEAM SUB-CONTRACT PACKAGE (SUBCONTRACT)